## Slide 1: Rapid Identification of Synthetic Anti-diabetic Drugs Adulterated in Herbal Dietary Supplement Using Direct Analysis in Real Time (DART)-Mass Spectrometry
Reporter: Zhigui Zhou
Supervisor: Prof. Huiwei Liu
2010.10.13

## Slide 2
Outline
Introduction
Experimental
Results and discussion
Conclusion
Acknowledgement

## Slide 3
Introduction
Diabetic mellitus Herbal dietary supplement
Adulterated with synthetic drugs

## Slide 4
Introduction
Analytical methods for synthetic anti-diabetic drugs
Synthetic drugs in
Chromatography
Mass Spectrometry
Spectrometry
Electrochemistry
CE
LC
Preparation
Plasma
Urine
Herbal products
Medicine
Dietary supplement

## Slide 5
Introduction
DART source: ambient ionization source
Application
Cuticular hydrocarbon of an awake fly
Counterfeit drug
Melamine in milk power
Cocaine and its metabolites in urine
Reaction monitoring in drug discovery
Stabilisers in polypropylene
Nonpolar compounds
Chemical warfare agents
Sulfur materials in drywall
Volatile organic compounds of eucalypts
Olive oil quality and authenticity assessment
…

## Slide 6
Introduction
DART source: ambient ionization source

## Slide 7
Experimental
Chemicals and Reagents
Five herbal dietary supplement samples
Four: capsule
One: tablet
Seven synthetic anti-diabetic drugs
Metformin
Glibenclamide
Gliclazide
Glipizide
Gliquidone
Nateglinide
Rosiglitazone

## Slide 8
Experimental
Instruments
DART®-SVP source
Agilent 6530 Accurate-Mass QToF MS
Helium
(> 99.999%)
Sample introduction
15mm
Discharge needle voltage: 6000 V
Capillary entrance voltage: 3500 V
Fragmentor: 175 V
Skimmer1: 65 V

## Slide 9
Experimental
Optimization of DART Parameters
DART Parameters
Gas temperature
(OC)
Gas flow rate
(m3/h)
Grid electrode
Voltage
(V)
Glibenclamide
Gliclazide
Glipizide
Gliquidone
Metformin
Nateglinide
Rosiglitazone
Sensitivity
250
300
350
400
450
0.06
0.08
0.10
0.12
0.14
0.16
0
100
200
300
400
E
I
C

## Slide 10
Experimental
Optimization of Collision Energy for MS/MS
Molecular ion
Collision energy
m/z
Abundance
Product ions
1
2
3

## Slide 11
Experimental
Analysis of Herbal Dietary Supplement samples
Sample preparation and detection by DART-MS
MeOH/H2O
(50/50, V/V)
DART®-SVP source
Helium
MS

## Slide 12
Experimental
Analysis of Herbal Dietary Supplement samples
Matrix Effect and Limit of Detection
MeOH/H2O
(50/50, V/V)
MeOH/H2O (50/50, V/V)
Spiked with synthetic drugs
LOD
the accurate mass of molecular ion of synthetic drug was detected;
at least three product ions with accordant accurate mass were observed in MS/MS spectra and the abundance of all ions were in the range of 102 to 103;
the relative abundance of product ions in sample MS/MS data were in accord with that in drug standard.

## Slide 13
Results and discussion
Optimization of DART Parameters
Optimized DART parameters:
Gas temperature: 350 oC
Gas flow rate: 0.12 m3/h (2L/min)
Grid electrode voltage: 100 V

## Slide 14
Results and discussion
Counts vs. Mass-to-Charge (m/z)
Counts vs. Mass-to-Charge (m/z)
Counts vs. Mass-to-Charge (m/z)
Counts vs. Mass-to-Charge (m/z)
Optimization of Collision Energy for MS/MS

## Slide 15
Results and discussion
Counts vs. Mass-to-Charge (m/z)
Counts vs. Mass-to-Charge (m/z)
Counts vs. Mass-to-Charge (m/z)
Optimization of Collision Energy for MS/MS

## Slide 16
MS/MS
MS/MS
Results and discussion
Analysis of Herbal Dietary Supplement samples

## Slide 17
Results and discussion
 | MeOH/H2O (50/50 v/v) ng/ml | Matrix 1 ng/ml (μg/g) | Matrix 2 ng/ml (μg/g) | Matrix 3 ng/ml (μg/g)
Metformin | 100 | 200 （20） | 400 （40） | 800 （80）
Nateglinide | 100 | 200 （20） | 200 （20） | 400 （40）
Gliclazide | 20 | 20 （2） | 40 （4） | 40 （4）
Rosiglitazone | 20 | 40 （4） | 40 （4） | 40 （4）
Glipizide | 500 | 2000 （200） | 2000 （200） | 30000 （3000）
Glibenclamide | 1000 | 1000 （100） | 1000 （100） | 2000 （200）
Gliquidone | 200 | 400 （40） | 1000 （100） | 4000 （400）
Matrix Effect and Limit of Detection

## Slide 18
Conclusion
DART source was coupled to QToF MS for rapid identification of synthetic anti-diabetic drugs adulterated in herbal dietary supplements.
A simple shake extraction manually in several seconds was only required for supplement sample preparation, and the extract was directly analyzed by DART-MS without any further treatment.
The adulteration of synthetic drugs was confirmed by the accurate mass of molecular ions as well as the accurate mass and relative abundances of product ions.
The developed method was successfully applied to examine five herbal dietary supplement products, and two products proved to be adulterated with metformin.
The LOD in herbal supplement matrices indicated that the method was adequate for identification of synthetic drug adulterated in herbal supplements usually at the level of several milligrams per gram.
The proposed DART-MS method provided an opportunity for rapid and reliable screening of similar synthetic adulterants in numerous herbal products with various effects declared, such as anti-obesity, anti-hypertension, sexual enhancement and so on.

## Slide 19
YAN TAI BIG APPLE!